# ANNEX II + III :	 TECHNICAL SPECIFICATIONS + TECHNICAL OFFER

- Contract title : Supply of Supply of specialized equipment for flood prevention LOT 2	p 1 /…

Publication reference : CB007.1.31.287/004

Columns 1-2 should be completed by the Contracting Authority

Columns 3-4 should be completed by the tenderer

Column 5 is reserved for the evaluation committee

Annex III - the Contractor's technical offer

The tenderers are requested to complete the template on the next pages:

- Column 2 is completed by the Contracting Authority shows the required specifications (not to be modified by the tenderer),

- Column 3 is to be filled in by the tenderer and must detail what is offered (for example the words “compliant” or “yes” are not sufficient)

- Column 4 allows the tenderer to make comments on its proposed supply and to make eventual references to the documentation

The eventual documentation supplied should clearly indicate (highlight, mark) the models offered and the options included, if any, so that the evaluators can see the exact configuration. Offers that do not permit to identify precisely the models and the specifications may be rejected by the evaluation committee.

The offer must be clear enough to allow the evaluators to make an easy comparison between the requested specifications and the offered specifications.

| 1. Item Number | 2. Specifications Required | 3. Specifications Offered | 4. Notes, remarks, ref to documentation | 5. Evaluation Committee’s notes |
| --- | --- | --- | --- | --- |
| 1 | AC Frequency (Hz) 50 Ac output voltage (V) 220 Continuous operating hours (hrs) more than 4 Operating noise level 7m (dB(A)) up to 100 Dry weight (kg) up to 130 Oil Alert Large capacity fuel tank Capacity air cleaner Capacity muffler Voltmeter AC circuit breaker Electric starter |  |  |  |
| 2 |  |  |  |  |
|  | <……………………………> |  |  |  |