| PROJECT | HETEROTOPIAS. BOTEVGRAD-LESKOVAC Interreg - IPA CBC Bulgaria - Serbia 2014-2020 |
| --- | --- |
| OBJECT | REALIZATION OF AN OPEN-AIR MUSEUM IN BOTEVGRAD |
| PART PHASE | CENTRAL CITY PART BOTEVGRAD, MUNICIPALITY OF BOTEVGRAD, DISTRICT OF SOFIA CONSTRUCTIVE DETAILED DESIGN |
| CONTRACTING AUTHORITY | MUNICIPALITY OF BOTEVGRAD |

MANAGER: 			(signed and stamped)

/ARCH. MARIELA ANDREEVSKA/

| architecture | architecture | construction | Electrical | electrical |
| --- | --- | --- | --- | --- |
| (Sign) | (Sign) | (Sign) | (Sign) | (Sign) |
| arch.Milena Kamenova | arch. M. Andreevska | eng. V. Martulkov | eng. V. Krasteva | eng. Ch. Yochkolovska |

Object code: B_25 – 20180415 – 3E redaction№ 0

CONTENTS

| PROJECT | HETEROTOPYIAS BOTEVGRAD-LESKOVAC Interreg - IPA CBC Bulgaria - Serbia 2014-2020 |
| --- | --- |
| OBJECT | REALIZATION OF AN OPEN-AIR MUSEUM IN BOTEVGRAD |
| PART PHASE | IN HOSUNG ESTATE 49 CENTRAL CITY PART BOTEVGRAD, MUNICIPALITY OF BOTEVGRAD, DISTRICT OF SOFIA CONSTRUCTIVE DETAILED DESIGN |

Object code: B_25 – 20180415 – 3E redaction№ 0

TEXT PART

- Documents certifying the legal capacity of the designer and Technical Control;

- Copy of insurance policy

- Explanatory note

- Quantitative account

GRAPHICAL PART

- Foundation information board					sheet 1/3

- Fundation CISOC with wooden bench - platform		sheet 2/3

- Foundation showcase						sheet 3/3

(sign and stamp for full design capacity of Dimitrinka Grigorova Vidrova)

(stamp for full design capacity of Velizar Velimirov Martulkov; signed and stamped)

COMPILED

/eng. Velizar Martulkov/

April 2018, Botevgrad

Object code: B_25 – 20180415 – 3E redaction№ 0

EXPLANATORY NOTE

| PROJECT | HETEROTOPIAS. BOTEVGRAD-LESKOVAC Interreg - IPA CBC Bulgaria - Serbia 2014-2020 |
| --- | --- |
| OBJECT | REALIZATION OF AN OPEN-AIR MUSEUM IN BOTEVGRAD |
| PART PHASE | IN HOSUNG ESTATE 49 CENTRAL CITY PART BOTEVGRAD, MUNICIPALITY OF BOTEVGRAD, DISTRICT OF SOFIA CONSTRUCTIVE DETAILED DESIGN |

Object code: B_25 – 20180415 – 3E redaction№ 0

The present project technical documentation has been prepared by qualified persons in “ANDREW-05” Ltd. on assignment by the MUNICIPALITY OF BOTEVGRAD, in compliance with the current regulations in the country.

BOTEVGRAD MUNICIPALITY is the holder of the real right of ownership over the Clock Tower in Botevgrad, Botevgrad Municipality, Sofia District.

In the sense of the VAT Act and the respective contractual relations between the parties, the person MUNICIPALITY OF BOTEVGRAD is called the CONTRACTING AUTHORITY OF the VAT Act, and the legal entity “ANDREW-05” Ltd. is called the CONTRACTOR.

In the sense of the Spatial Development Act, in its capacity of owner of the property, provided for construction and installation works, the MUNICIPALITY OF BOTEVGRAD is called the CONTRACTING AUTHORITY of the Spatial Development Act, and the legal entity “ANDREW-05” Ltd. - DESIGNER.

The investment intention of the Contracting Authority is for the realization of an Open-Air Museum in the Central part of Botvegrad in accordance with its real rights, legitimized by the attached ownership documents.

In order to realize the investment intention of the Contracting authority, the Contractor-designer prepares construction design documentation, representing an investment project in the sense of the Spatial Development Act. This project is partly architectural and is an integral part of all construction documentation for the site.

Object code: B_25 – 20180415 – 3E redaction№ 0

The project under part Constructive is developed on the grounds of architectural project and treats the foundation of information board, showcase.

The foundation for the information board is 80/40 cm with a depth of 80 cm. It’s reinforced with longitudinal and transverse reinforcement of N8. In the foundation the information board will be anchored according to the specification of the manufacturer.

For the showcase is envisaged a platform from reinforced concrete with width of 30 cm over the terrain and dimensions of 100/100 cm. It’s reinforced with two welded networks of N6. On the platform a showcase will be mounted according to the specifications of the manufacturer.

The earthly foundation and the fulfillment of the foundations to be accepted. Also the formwork and reinforcement to be accepted before concreting.

The constructive project should be implemented correctly. For deviations from the project and not informing the designer, the last mentioned does not take responsibility in case of eventual emergency.

THE CONTRACTOR-DESIGNER expresses readiness for timely and adequate actions in case of establishment of omissions, inaccuracies and deviations from the norms in the process of conformity assessment and approval by the competent authorities of the investment project.

References:

* Basic provisions for the design of the structures of the constructions and for the influences on them (Ordinance №3 / 21.07.2004).

* Ordinance №РД-02-20-2 for design of buildings and facilities in earthquake areas from 27.01.2012.

* Standards for design of concrete and reinforced concrete structures (updated version with the inclusion of amendments and additions published in the Bulletin of Construction and Architecture issue 6-8 of 1999).

* Flat foundation. Design regulations (published together with Ordinance №1 on the design of flat foundations in the "Bulletin of Construction and Architecture" issue 10 of 1996).

COMPILED

(sign and stamp for full design capacity of Dimitrinka Grigorova Vidrova)

(stamp for full design capacity of Velizar Velimirov Martulkov; signed and stamped)

/eng. Velizar Martulkov/

April 2018, Botevgrad

| architecture | architecture | construction | Electrical | electrical |
| --- | --- | --- | --- | --- |
| (Sign) | (Sign) | (Sign) | (Sign) | (Sign) |
| arch.Milena Kamenova | arch. M. Andreevska | eng. V. Martulkov | eng. V. Krasteva | eng. Ch. Yochkolovska |

Object code: B_25 – 20180415 – 3E redaction№ 0