Notes:

1. All cables for the tower, the pool and part of the lighting of the square are in the western part (west) of the clock tower. The existing power cable from TP "BKP" for the main panel in the tower is pulled from it through the existing opening and turned into the new main switchboard. The existing main panel in the tower is being dismantled. The fountain panel is mounted and the electronic equipment is installed in the new main switchboard.

2. The excavation for the cables to the fountain is done by hand due to existing underground facilities.

3. All existing electrical consumers shall be supplied from the main switchboard.

4. If some of the cables for the city fountain cannot be removed, replace them with new ones. This should be done in the presence of a representative of the operation of the city fountain and CEZ.

CONTRACTING AUTHORITY: *(stamped and signed by the mayor)* FOR MUNICIPALITY OF BOTEVGRAD – IVAN GAVALYUGOV, MAYOR

the project documentation is an investment project within the meaning of the Spatial Planning Act, developed by qualified designers in compliance with the regulatory framework in the Republic of Bulgaria

*(stamped and signed by the chief architect)*

*(stamp for approval by the Ministry of culture)*

*(stamped and signed of competency of Violetka Krasteva)*

|  |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| CONTRACTOR | ANDREW 5 Ltd. project management & complex design | | | | | | | |
|  | Ph. +359723/93054 | | | Mobile ph. +359888980492 | | | e-mail: mariellaandreevska@gmail.com | |
| PROJECT | HETEROTOPIAS, BOTEVGRAD – LESKOVAC Interreg – IPA for cross border cooperation Bulgaria – Serbia 2014 – 2020 | | | | | | | |
| SITE | EXPOSURE AND SOCIALIZATION OF A CLOCK TOWER IN QUARTER 49 OF THE CENTRAL PART OF THE CITY OF BOTEVGRAD, MUNICIPALITY OF BOTEVGRAD, SOFIA – DISTRICT | | | | | | | |
| SKETCH | SITUATION - MAIN SWITCHBOARD AND EXTERNAL CABLES M 1:50 | | | | | | | |
| designer | | Eng. Violeta Krasteva | | | Signature | | Part Electrical |
| Phase: detailed design |
| Designer | | Eng. Chaika Iochkoliiska | | | Signature | | Sheet: 2/5 |
| 9 April 2018 |
|  |  | | | | | | | |
| COORDINATION | Construction | Architecture | | | | | | Geodesy |
| Signature | Signature | | | Signature | | | Signature |
| Eng. V. Martulkov | Arch. M. Kamenova | | | arch. Mariela Andreevska | | | Y. Milenkov |
|  |  | | | | | | | |
| MANAGER | For ANDREW 05 Ltd.  *(stamped and signed)*  arch. Mariela Andreevska | | | | | | | |

this project is protected by copyright law **and can be used only with the express consent of** ANDREW 05 EOOD and according to the agreements between the participants in the investment process. The logo of ANDREW 05 EOOD to be seen on any reproduction, copy and related electronic documents