|  | Project N CB007.1.11.349: Creating preconditions for better accessibility to touristic attractions in Pantelej and Lom by improving the touristic infrastructure and increasing the number of tourists; |  |
| --- | --- | --- |

VOLUME 4.2

FINANCIAL OFFER TEMPLATES

LUMP SUM CONTRACTS

Introduction

1.	The Breakdown of the Lump-sum Price (Volume 4.2.3) is the itemised list of prices showing the build-up of the price in a lump-sum contract. This Breakdown of the Lump-sum Price does not derogate in any way to the clause stating that, in a lump-sum contract, the total contract price remains fixed irrespective of the quantity of work actually carried out.

The amounts due will be calculated:

<The breakdown must coincide with the payment-definition chosen in article 49 of the Special Conditions:

For example: through the measurement of the percentage of works carried out in relation to the firm quantities of each item of the Breakdown of the Lump-sum Price and by applying that percentage to the lump-sum price of the related item>

For example: by the tranches specified in article 49(1)(a) of the Special Conditions>.

2.	The item description given in the Breakdown of the Lump-sum Price in no way limits the Contractor’s obligations under the Contract to provide all the works described elsewhere.

3.	The prices of the Breakdown of the Lump-sum Price include all incidental and contingent expenses and all risks necessary to construct, complete and maintain all works in accordance with the Contract. Unless separate items are provided in the Breakdown of the Lump-sum Price, prices include all costs involved in the various items of the Breakdown.

4.	The prices do not include taxes and fiscal duties, as exoneration is explicitly given for the Contract. Non-exonerated taxes and fiscal duties are, apart from those stated separately in the financial offer templates, covered in the Lump–sum Price of the Contract.

VOLUME 4.2.3 — BREAKDOWN OF THE LUMP-SUM PRICE

| Item | Description | Unit | Unit price | Firm Quantities | Lump-sum price EUR |
| --- | --- | --- | --- | --- | --- |
|  | PART ARCHITECTURE |  |  |  |  |
|  | Roof repair building |  |  |  |  |
| 1 | Assembly and disassembly of metal tubular scaffolding | m2 |  | 570 |  |
| 2 | Dismantling of wood siding on the side of the roof | m2 |  | 90 |  |
| 3 | Dismantling of tin plating on the roof | m2 |  | 100 |  |
| 4 | Dismantling gutters | m |  | 18 |  |
| 5 | Dismantling gutters | m |  | 36 |  |
| 6 | Dismantling existing insulation in roof | m2 |  | 300 |  |
| 7 | Supply and installation of FPO membranes 1.5 mm on the roof (in low and high body) | m2 |  | 350 |  |
| 8 | Construction of roof insulation rock mineral wool 12 cm | m2 |  | 170 |  |
| 9 | Construction of roof insulation XPS low body - first layer |  |  | 140 |  |
| 10 | Supply and laying of bitumen primer on the roof (in low and high body) | m2 |  | 300 |  |
| 11 | Supply and laying of geotextile 500 g / m2 under roof (low and high body) | m2 |  | 300 |  |
| 12 | Supply and laying of gravel layer on top (at low and high body) | m2 |  | 300 |  |
| 13 | A second layer of roof insulation XPS low body | m2 |  | 140 |  |
| 14 | Supply and installation of granite slabs usable roof and external staircase | m2 |  | 170 |  |
| 15 | Delivery and installation of skirts and hats from galvanized steel | m2 |  | 100 |  |
| 16 | Delivery and installation of roof finishing element (strip at the edge of the board 40 mm) | m |  | 110 |  |
| 17 | Delivery and installation gutters | m |  | 25 |  |
| 18 | Delivery and installation gutters | m |  | 36 |  |
| 19 | Delivery and installation "S" -ve for gutters | pcs |  | 18 |  |
| 20 | Repair of chimneys | pcs |  | 2 |  |
| 21 | Loading and unloading construction waste and transport by truck from 6 to 10 km. | m3 |  | 15 |  |
|  | Replacing exterior joinery building |  |  |  |  |
| 1 | Dismantling of metal windows | pcs |  | 6 |  |
| 2 | Removing the windows of the wall - all types | pcs |  | 23 |  |
| 3 | Removing the doors of the wall - all types | pcs |  | 5 |  |
| 4 | Delivery and installation of PVC windows white | m2 |  | 65 |  |
| 5 | Delivery and installation of AL Entrance door | m2 |  | 15 |  |
| 6 | Supply and installation of aluminum window sills and fasteners, silicone / polyurethane foam | ml |  | 36 |  |
| 7 | Fabrication and installation of metal bars in detail 140/160 | pcs |  | 13 |  |
| 8 | Loading and unloading construction waste and transport by truck from 6 to 10 km. | m3 |  | 15 |  |
|  | Repair facade |  |  |  |  |
| 1 | Threshing of compromised plaster facade and eaves board | m2 |  | 300 |  |
| 2 | Restoration of lime plaster (battered fields) equalization | m2 |  | 300 |  |
| 3 | Cleaning facade board and plinth | m2 |  | 440 |  |
| 4 | System for complete thermal insulation walls EPS 10 cm | m2 |  | 550 |  |
| 5 | Flip open with thermal insulation in windows bottom page XPS-R 2 cm width 30 cm | m |  | 36 |  |
| 6 | Flip open the pages with heat insulation of doors and windows EPS-F 3 cm at width 30sm | m |  | 150 |  |
| 7 | Delivery and installation Water dripping profile | m |  | 200 |  |
| 8 | Supply and laying colored mineral plaster | m2 |  | 250 |  |
| 9 | Supply and laying white mineral blaster | m2 |  | 350 |  |
| 10 | Wall painting white fasagen | m2 |  | 100 |  |
| 11 | Thermal insulation on the plinth XPS-R 4 cm | m2 |  | 85 |  |
| 12 | Construction socket and external staircase with mineral plaster type gray mosaic | m2 |  | 150 |  |
| 13 | Cleaning the rails | m |  | 55 |  |
| 14 | Priming of railings | m |  | 55 |  |
| 15 | Painting the railings | m |  | 55 |  |
| 16 | Processing visible reinforcement of external staircase / rust and concrete cover/ | m |  | 65 |  |
|  | Repair indoor |  |  |  |  |
| 1 | Removing the doors of the wall - all types | pcs |  | 14 |  |
| 2 | Delivery and installation interior doors MDF 160/200 | pcs |  | 2 |  |
| 3 | Delivery and installation interior doors AL 70/200 | pcs |  | 1 |  |
| 4 | Delivery and installation interior doors AL 80/200 | pcs |  | 5 |  |
| 5 | Delivery and installation interior doors AL 90/200 | pcs |  | 6 |  |
| 6 | Dismantling of old pavement / flooring, linoleum / including sills | m2 |  | 340 |  |
| 7 | Dismantling PVC panel | m2 |  | 70 |  |
| 8 | Dismantling suspended ceiling | m2 |  | 125 |  |
| 9 | Demolition of the brick wall 12 cm | m2 |  | 20 |  |
| 10 | Construction of a brick wall 12 cm | m2 |  | 30 |  |
| 11 | Cleaning the existing mosaic | m2 |  | 60 |  |
| 12 | New plaster on the walls and the renovation of old walls | m2 |  | 50 |  |
| 13 | Scraping walls and ceilings painted dry or painting with oil paint | m2 |  | 1300 |  |
| 14 | Flip open around newly installed doors and windows of any kind delivery and installation of edges | m |  | 220 |  |
| 15 | Supply and construction of plasterboard ceilings / including metal structure, elements & fasteners, mesh and plaster / | m2 |  | 125 |  |
| 16 | Supply and construction of ceilings of waterproof gypsum board / including metal structure, elements & fasteners, mesh and plaster edges/ | m2 |  | 15 |  |
| 17 | Plastered walls and ceilings | m2 |  | 1300 |  |
| 18 | Triple painting of the new walls and ceilings painted in / in plaster. Plaster | m2 |  | 1300 |  |
| 19 | Delivery and installation window sill - PVC new windows | ml |  | 36 |  |
| 20 | Equalizing stucco to d = 40 mm | m2 |  | 340 |  |
| 21 | Paved with granite floors WC | m2 |  | 15 |  |
| 22 | Supply and laying tiles on walls, incl. strips, inside and outside comers | m2 |  | 80 |  |
| 23 | Making granite plinth | m |  | 35 |  |
| 24 | Delivery and installation of beechwood parquet, including sills | m2 |  | 230 |  |
| 25 | Processing beechwood parquet / impregnation, varnishing / | m2 |  | 230 |  |
| 26 | Supply and installation of laminate flooring, including skirting | m2 |  | 95 |  |
| 27 | Dismantlement, removal and installation of furniture in the room | pcs. |  | 9 |  |
| 28 | Loading and unloading construction waste and transport by tuck from 6 to 10 km. | m3. |  | 15 |  |
|  | Ramp |  |  |  |  |
| 1 | Excavation for the foundation of the ramp | m3 |  | 9 |  |
| 2 | Formwork ramp | m2 |  | 35 |  |
| 3 | Laying concrete for the foundations of the ramp B15 | m3 |  | 9 |  |
| 4 | Reinforcement ordinary and average complexity 6-10 u A ramp to I | kg |  | 120 |  |
| 5 | Reinforcement ordinary and average complexity N 10-18 A III Ramp | kg |  | 110 |  |
| 6 | Laying concrete ramp | m3 |  | 2 |  |
| 7 | Fabrication and installation railings and entrance ramp (in accordance with the requirements of Regulation 6) | m |  | 25 |  |
| 8 | Painting new railing | m2 |  | 25 |  |
| 9 | Stucco ramp | m2 |  | 20 |  |
| 10 | Laying surface (heat-resistant granite for external parts) ramp | m2 |  | 20 |  |
| 11 | Repair of exterior stairs | pcs. |  | 4 |  |
|  | Part: Landscaping |  |  |  |  |
| 1 | Deterioration of pavement of concrete, cement and basalt tiles and sorting tables | m2 |  | 500 |  |
| 2 | Termination of flower stands | pcs. |  | 3 |  |
| 3 | Thin excavation to 0.50 m alignment | m3 |  | 210 |  |
| 4 | Pads of sand | m3 |  | 70 |  |
| 5 | Base of crushed stone wedged | m3 |  | 105 |  |
| 6 | Paved with concrete slabs of concrete on the basis | m2 |  | 700 |  |
| 7 | Delivery and installation garden curbs | m |  | 200 |  |
| 8 | Making flower R 200 cm (including supply of humus) | pcs. |  | 2 |  |
| 9 | Facing nursery at entrance with granite | m2 |  | 10 |  |
| 10 | Delivery and assembly benches | pcs. |  | 16 |  |
| 11 | Supply and installation of waste bins | pcs. |  | 7 |  |
| 12 | Delivery and installation table tennis | pcs. |  | 1 |  |
| 13 | Making basis under the gazebo concrete B15 | m3 |  | 3 |  |
| 14 | Making wooden gazebo 400/400/350 in detail | pcs. |  | 1 |  |
| 15 | Treatment against decay preparation of wooden surfaces | pcs. |  | 1 |  |
| 16 | Loading and unloading construction waste and transport by truck from 6 to 10 km. | m3 |  | 70 |  |
| 17 | Repair existing fence | m |  | 180 |  |
| 18 | Felling of trees and shrubs | m2 |  | 1000 |  |
| 19 | Removal and disposal of trees and shrubs | m3 |  | 100 |  |
| 20 | Hoeing lawns | m2 |  | 500 |  |
| 21 | Planting flowers | m2 |  | 30 |  |
| 22 | Grass lawns | m2 |  | 500 |  |
| 23 | Ripping asphalt | m2 |  | 380 |  |
| 24 | Removing hidden concrete curbs | m |  | 90 |  |
| 25 | Thin excavation to 0.50 m for base | m3 |  | 340 |  |
| 26 | Compacting with vibratory roller | m3 |  | 204 |  |
| 27 | Loading excavator earth soils dump and transport up to 5 km. | m3 |  | 340 |  |
| 28 | Shoveling earth with a bulldozer to 40m. | m3 |  | 340 |  |
| 29 | Basic layer of granular material continuous granulation / 0-63 / | m3 |  | 204 |  |
| 30 | Asphalt mixture for base layer type ”Ao" / bituminised crushed stone / - 7 cm | ton |  | 115 |  |
| 31 | First bitumen layer | m2 |  | 680 |  |
| 32 | Second bitumen layer | m2 |  | 680 |  |
| 33 | Production and laying of dense asphaltic concrete type A for wear layer and all associated costs 4 cm | ton |  | 66 |  |
| 34 | Laying of street curbs | m |  | 300 |  |
| В | Part: Electric |  |  |  |  |
|  | I. EL. BOARDS AND MAIN LINES |  |  |  |  |
| 1 | Delivery and installation in a niche of the MDB - scheme | pcs. |  | 1 |  |
|  | II. Lighting installations BUILDING |  |  |  |  |
| 1 | Supply LED luminaire 20 W | No. |  | 4 |  |
| 2 | Delivery lighting fixture type "LED LUX 1 (2) A33 SO 830 1" - 33 W with dimensions 600/600 mm | pcs. |  | 61 |  |
| 3 | Delivery lighting fixture LED 33W- LED Lux 1 (2) S33 SO 830-1 - 120h30sm | pcs. |  | 6 |  |
| 4 | Supply decorative wall sconce with KLL18 W | pcs. |  | 2 |  |
| 5 | Shipping wall sconce with waterproof KLL18 W | pcs. |  | 11 |  |
| 6 | Lighting fixture supply for evacuation with LED 18 W IP- with pictogram | pcs. |  | 19 |  |
| 7 | Lighting fixture supply for evacuation lights with LED 18 W IP- without pictogram | pcs. |  | 2 |  |
| 8 | Installation lighting | pcs. |  | 105 |  |
| 9 | Delivery and installation PVC garden bars complete with lighting fixture with 18 W CFL or LED 10 W (on the terrace) | pcs. |  | 4 |  |
| 10 | Lamp outlets with cable NYY 4 h1,5mm2 in corrugated pipes u 16 mm under plaster and floor terrace with a line length of 10 m | pcs. |  | 109 |  |
|  | III. Area lighting |  |  |  |  |
| 11 | Tracing of cable line | km |  | 0.11 |  |
| 12 | Construction of trench 0.8 / 0.4 m | m |  | 110 |  |
| 13 | Preparation pad cable | m |  | 110 |  |
| 14 | Supply cable NYY 3x4 mm2 | m |  | 160 |  |
| 15 | Supply cable NYY 3x1.5 mm2 | m |  | 80 |  |
| 16 | Delivery and installation of yellow- green grounding wire for diverting boxes 4 mm2 | m |  | 8 |  |
| 17 | Laying of cable in a trench | No. |  | 116 |  |
| 18 | Download cable into the pillars and pipes | m |  | 124 |  |
| 19 | Supply and laying of PVC pipe u 29 mm from trench to diverting boxes | m |  | 24 |  |
| 20 | Supply and laying of PVC pipe d = 50 mm below the alleys | m |  | 20 |  |
| 21 | Dry separation of cables 3x4 mm2 | No. |  | 17 |  |
| 22 | Dry harness Cable 3hl,5 mm2 | No. |  | 32' |  |
| 23 | Connecting wire to the facility with cable lugs 4 mm2 | No. |  | 51 |  |
| 24 | Connecting wire to the ear with facility to 1.5 mm2 | No. |  | 96 |  |
| 25 | Delivery of steel pipes for park lighting poles submersible to three meters height 2.5 m total size fl08 / 60 complete with junction box | No. |  | 8 |  |
| 26 | Straightening submersible park lighting poles | No. |  | 8 |  |
| 27 | Delivery and installation double chevaux de frize for park lighting model previously agreed designer | No. |  | 8 |  |
| 28 | Delivery and installation lanterns model agreed in advance designer | No. |  | 16 |  |
| 29 | Delivery and installation LED lamp 30W E-27 for installation in the lanterns | No. |  | 16 |  |
| 30 | Delivery installation photocell facade | No. |  | 1 |  |
| 31 | Supply and impaled a round solid steel u 17.2 mm copper-clad length 1.5 m - 2 pieces | No. |  | 8 |  |
| 32 | Measurement of earthing | No. |  | 8 |  |
|  | IV. POWER PLANT |  |  |  |  |
| 33 | Contact single phase outlet with cable NYY 3 x 2.5 mm2 in Bumps. U tube 16 millimeters in the walls with line length up to 15 m including materials and labor - with single contacts IP-32 for concealed installation | pcs. |  | 43 |  |
| 34 | Contact single phase outlet with cable NYY 3x4 mm2 in Bumps. U tube 16 millimeters in the walls with line length up to 15 m including materials and labor - with single contacts IP-32 for concealed installation | ? |  | 4 |  |
| 35 | Contact single phase outlet with cable NYY 3 x 2.5 mm2 in Bumps. U tube 16 millimeters in plaster with a line length of 10 m including materials and labor - triple contact with IP-32 for concealed installation | pcs. |  | 1 |  |
| 36 | Supply cable NYY 3 x 2.5 mm2 (for the store) | m |  | 15 |  |
| 37 | Supply and installation gofr.traba u 16 mm | m |  | 15 |  |
| 38 | Download cable laid in pipes | m |  | 15 |  |
| 39 | Delivery and installation boiler panel | m |  | 1 |  |
| 40 | Connecting wire to 2.5 mm2 facility with ear | m |  | 6 |  |
|  | V. Current installations |  |  |  |  |
| 41 | Delivery and installation of low- voltage box | No. |  | 1 |  |
| 42 | Delivery and installation splitters | No. |  | 5 |  |
| 43 | Supply and installation of flexible rose, u 23 mm pipes hidden under blaster | m |  | 270 |  |
| 44 | Supply and installation of plastic consoles | No. |  | 16 |  |
| 45 | Supply and download FTP category 5e cable in pipes | m |  | 170 |  |
| 46 | Supply and download coaxial cable in pipes | m |  | 100 |  |
| 47 | Delivery and installation of a telephone socket RJ-11 for concealed installation | No. |  | 5 |  |
| 48 | Delivery and installation of a telephone socket RJ-45 for concealed installation | No. |  | 5 |  |
| 49 | Delivery and installation of TV outlet for concealed installation | No. |  | 6 |  |
| 50 | Delivery and installation technology boxes to download wires | No. |  | 25 |  |
| 51 | Pre commissioning works | hh |  | 8 |  |
|  | VI. Conductor installations |  |  |  |  |
| 52 | Air Terminal A leading ERICO SI 40i m mounted on a mast height of 2.0 meters, with a protective radius 23 m for the first level, with a time of 40 µs overtaking = | No. |  | 1 |  |
| 53 | Delivery and installation of a mast height 2.0 m, | No. |  | 1 |  |
| 54 | Delivery and installation of extruded aluminum conductor AlMgSi0.5 8-10 mm. | m |  | 50 |  |
| 55 | Delivery and installation of the mounting bracket for flat roof | No. |  | 30 |  |
| 56 | Delivery and installation of holders facade-Al | No. |  | 20 |  |
| 57 | Delivery and installation of Stainless call terminal / bus | No. |  | 2 |  |
| 58 | Delivery and installation of the Audit terminal -8-16 | No. |  | 2 |  |
| 59 | Delivery and installation of lockable metal junction box 300/300 mm mounting revision terminal | No. |  | 2 |  |
| 60 | Delivery and installation of grounding stakes round solid steel u 17.2 mm copper-clad length of 1.5 meters in a set number 2 | No. |  | 3 |  |
| 61 | Supply and installation of galvanized strip 40/4 mm wall and floor (for MDB) | m |  | 5 |  |
| 62 | Supply and installation of galvanized strip 40/4 mm wall heat shrinkable tubing with delivery hose | m |  | 5 |  |
| 63 | Measurement of earthing | No. |  | 3 |  |
| 64 | Measurement of the impedance | No. |  | 49 |  |
| 65 | Minutes from licensed laboratory for impedance and earth rods or spikes | No. |  | 1 |  |
| IN | Part: Plumbing |  |  |  |  |
|  | I. INTERNAL plumbing |  |  |  |  |
| 1 | Water pipes for cold water in buildings F 25 / 2.5 RRR | m |  | 14 |  |
| 2 | Water pipes for cold water in buildings F 20 / 2.3 RRR | m |  | 11 |  |
| 3 | Water pipes for hot water in buildings F 20 / 2.5 RRR | m |  | 9.5 |  |
| 4 | El .boiler 50 l.N = 3 kW. | No. |  | 1 |  |
| 5 | Delivery and installation instantaneous water heater V = 101. | No. |  | 1 |  |
| 6 | Delivery and installation instantaneous water heater V = 51. | No. |  | 1 |  |
| 7 | SC u 25 | No. |  | 1 |  |
| 8 | SC u 20 | No. |  | 6 |  |
| 9 | VK u 20 | No. |  | 1 |  |
| 10 | Taps for sinks - wall | No. |  | 8 |  |
| 11 | Insulation type "Mirelon" f20mm. | m |  | 20.5 |  |
| 12 | Mounting connection with existing plumbing F3 / 4 “/ zinc / | No. |  | 1 |  |
| 13 | Testing of plumbing in buildings pressure | m |  | 35 |  |
| 14 | Disinfect the plumbing in buildings | m |  | 35 |  |
|  | II.INTERNAL SANITASHION |  |  |  |  |
| 1 | Sewer pipes u 140 PVC | m |  | 5 |  |
| 2 | Sewer pipes d 110 PVC | m |  | 7.5 |  |
| 3 | Sewer pipes u 50 PVC | m |  | 10 |  |
| 4 | Soft links FI 10 mm | No. |  | 4 |  |
| 5 | Soft links u 40 mm | No. |  | 8 |  |
| 6 | Toilet sinks | No. |  | 8 |  |
| 7 | Flushing sedan with low cistern monoblock | No. |  | 4 |  |
| 8 | Delivery and installation manhole FI 10 | No. |  | 2 |  |
| 9 | Floor drain u 50 mm horn | No. |  | 3 |  |
| 10 | Delivery and installation of the valve 100mm | No. |  | 1 |  |
| 11 | Testing of tightness sewer pipes u 140 | m |  | 22.5 |  |
| D | Part: HVAC |  |  |  |  |
| 1 | Delivery and installation air conditioning system KC1, conventional type, split-system, wall mounting payoff - 0.60-2.65-3.20 kW OHL - 0.80-2.80-3.60 kW, Nel nome - Mach 0,89 - 0.9 kW, including | No. |  | 1 |  |
| 2 | Delivery and installation air conditioning system KC2, conventional type, split-system, wall mounting payoff - 1,26-5,20-6,00 kW OHL - 1,12-5,65-6,86 kW, Nel nome - mahl,67 - 1.75 kW | No. |  | 7 |  |
| 3 | Delivery and installation air conditioning, column type, split system pays off - 1,8 - 9,8kW OHL - 2,0-9,0 kW Nel nome - max 2,2 - 2.4 kW | No. |  | 4 |  |
| 4 | Delivery and electrical installation. Heater for wall mounting - lkW | No. |  | 2 |  |
| 5 | Delivery and installation culvert F20 | ml |  | 30 |  |
| 6 | Delivery and assembly technological pipe Cu u 10 * 0.8 mm in insulation K -fleks | ml |  | 2.5 |  |
| 7 | Delivery and assembly technological pipe Cu u 12 * 0.8 mm in insulation K -fleks | ml |  | 20 |  |
| 8 | Delivery and assembly technological pipe Cu u 19 * 0.8 mm in insulation K -fleks | ml |  | 37.5 |  |
| 9 | Delivery and installation framework for the installation of outdoor unit for Cl | No. |  | 1 |  |
| 10 | Delivery and installation framework for the installation of outdoor unit for C2 | No. |  | 7 |  |
| 11 | Delivery and installation framework for the installation of outdoor unit for C3 | No. |  | 4 |  |
| 12 | Single samples and tests of the air conditioning system | No. |  | 12 |  |
| 13 | 72 hour sample conditioning system | No. |  | 12 |  |
| 14 | 72 hour sample for electricity. Heater | No. |  | 2 |  |
| 15 | Bandage tape | No. |  | 12 |  |
| 16 | Polyurethane foam | No. |  | 6 |  |
| Total lump-sum price (VAT excluded) |  |  |  |  |  |
| Total lump-sum price (VAT included) |  |  |  |  |  |